## 1. Dashboard
1. DASHBOARD
Step | Status | NOTE: Light grey cells with a blue font are input cells
1. Adjust date | Complete/Incomplete
2. Input current stock & expiries | Complete/Incomplete
3. Input consumption | Complete/Incomplete
4. Input pipeline | Complete/Incomplete
Summary
|  | Months of stock on hand | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01
|  | Reagent Bundles | 1.8789 | 2.966 | 1.9184 | 5.572 | 4.4829 | 6.057 | 4.9607 | 3.881 | 2.8181 | 1.7743 | 0.74578 | 0
|  | Generic consumables bundles | 0 | 1.0721 | 0.053097 | 5.0175 | 3.931 | 5.4068 | 4.3167 | 3.2459 | 2.1935 | 1.1587 | 0.14063 | 0
|  | DBS bundles | 8.6065 | 7.4684 | 6.3504 | >10 | >10 | >10 | >10 | >10 | 9.8954 | 8.7392 | 7.5999 | 6.4777
|  | Reagent tips | 6.6667 | 5.6667 | 4.6667 | >10 | 9.6667 | 8.6667 | 7.6667 | 6.6667 | 5.6667 | 4.6667 | 3.6667 | 2.6667
|  | Halogen lamps | 8 | 7 | 6 | >10 | >10 | >10 | >10 | 10 | 9 | 8 | 7 | 6
|  | Seal tip gripper (O-rings) | 5.4 | 4.4 | 3.4 | 2.4 | 1.4 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0
|  | K-carriers | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | 0 | 0 | 0 | 0
|  | Total to order 6 months forward | 2015-03-01: Quantity; 2015-04-01: Unit Cost; 2015-05-01: Total cost; 2015-06-01: MOS; 2015-08-01: Desired delivery date
|  | Reagent bundles | 2015-03-01: 1446.3; 2015-04-01: 528; 2015-05-01: 763646.4; 2015-06-01: 6.0899; 2015-08-01: 2015-07-01
|  | Generic consumables bundles | 2015-03-01: 72.6; 2015-04-01: 315; 2015-05-01: 22869; 2015-06-01: 6.0881; 2015-08-01: 2015-07-01
|  | DBS bundles | 2015-03-01: 1388.5; 2015-04-01: 84.65; 2015-05-01: 117536.525; 2015-06-01: 6.0899; 2015-08-01: 2015-07-01
|  | Reagent tips | 2015-03-01: 36; 2015-04-01: 182.17; 2015-05-01: 6558.12; 2015-06-01: 6; 2015-08-01: 2015-07-01
|  | Halogen lamps | 2015-03-01: 12; 2015-04-01: 63.84; 2015-05-01: 766.08; 2015-06-01: 6; 2015-08-01: 2015-07-01
|  | Seal tip gripper (O-rings) | 2015-03-01: 7.5; 2015-04-01: 6.41; 2015-05-01: 48.075; 2015-06-01: 6; 2015-08-01: 2015-07-01
|  | K-carriers | 2015-03-01: 3; 2015-04-01: 48.47; 2015-05-01: 145.41; 2015-06-01: 6; 2015-08-01: 2015-07-01
Key assumptions
1. The forecasting methodology draws on consumption data for reagents tests, documented by the Central Public Health Laboratories
2. Historically CPHL has maintained approximately 3 months buffer stock for all items but this can be adjusted as order timelines change
3. Ideally, no more than 5 months' stock of reagents should be held at any given time
4. The growth rate is a 12 month average of the 3 month rolling AMC

## 2. EID Forecast
2. EID FORECAST
1. Base: Stock at the beginning of the month | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01
Reagent bundles | 0 | 407.9 | 654.3 | 430.1 | 1269.3 | 1037.8 | 1424.6 | 1185.6 | 942.7 | 695.8 | 445 | 190.1
Generic consumables bundles | 10 | 0 | 11.9 | 0.6 | 57.2 | 45.6 | 63.8 | 51.8 | 39.6 | 27.2 | 14.6 | 1.8
DBS bundles | 702 | 1793.6 | 1581.8 | 1366.6 | 2895.9 | 2673.7 | 3044.9 | 2815.4 | 2582.2 | 2345.2 | 2104.4 | 1859.7
Reagent tips | 12 | 40 | 34 | 28 | 64 | 58 | 52 | 46 | 40 | 34 | 28 | 22
Halogen lamps | 4 | 16 | 14 | 12 | 28 | 26 | 24 | 22 | 20 | 18 | 16 | 14
Seal tip gripper (O-rings) | 8 | 6.75 | 5.5 | 4.25 | 3 | 1.75 | 0.5 | 0 | 0 | 0 | 0 | 0
K-carriers | 4 | 3.5 | 3 | 2.5 | 2 | 1.5 | 1 | 0.5 | 0 | 0 | 0 | 0
2. Subtract: Average monthly consumption | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01
Reagent bundles | 217.1 | 220.6 | 224.2 | 227.8 | 231.5 | 235.2 | 239 | 242.9 | 246.9 | 250.8 | 254.9 | 259
Generic consumables bundles | 10.9 | 11.1 | 11.3 | 11.4 | 11.6 | 11.8 | 12 | 12.2 | 12.4 | 12.6 | 12.8 | 13
DBS bundles | 208.4 | 211.8 | 215.2 | 218.7 | 222.2 | 225.8 | 229.5 | 233.2 | 237 | 240.8 | 244.7 | 248.7
Reagent tips | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
Halogen lamps | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Seal tip gripper (O-rings) | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25
K-carriers | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
3. Add: Pipeline | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01
Reagent bundles | 625 | 467 | 0 | 1067 | 0 | 622 | 0 | 0 | 0 | 0 | 0 | 0
Generic consumables bundles | 0 | 23 | 0 | 68 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0
DBS bundles | 1300 | 0 | 0 | 1748 | 0 | 597 | 0 | 0 | 0 | 0 | 0 | 0
Reagent tips | 34 | 0 | 0 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Halogen lamps | 14 | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Seal tip gripper (O-rings) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
K-carriers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4. Result: Stock at the end of the month | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01
Reagent bundles | 407.9 | 654.3 | 430.1 | 1269.3 | 1037.8 | 1424.6 | 1185.6 | 942.7 | 695.8 | 445 | 190.1 | 0
Generic consumables bundles | 0 | 11.9 | 0.6 | 57.2 | 45.6 | 63.8 | 51.8 | 39.6 | 27.2 | 14.6 | 1.8 | 0
DBS bundles | 1793.6 | 1581.8 | 1366.6 | 2895.9 | 2673.7 | 3044.9 | 2815.4 | 2582.2 | 2345.2 | 2104.4 | 1859.7 | 1611
Reagent tips | 40 | 34 | 28 | 64 | 58 | 52 | 46 | 40 | 34 | 28 | 22 | 16
Halogen lamps | 16 | 14 | 12 | 28 | 26 | 24 | 22 | 20 | 18 | 16 | 14 | 12
Seal tip gripper (O-rings) | 6.75 | 5.5 | 4.25 | 3 | 1.75 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0
K-carriers | 3.5 | 3 | 2.5 | 2 | 1.5 | 1 | 0.5 | 0 | 0 | 0 | 0 | 0
5. Result: Months of stock on hand | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01
Reagent bundles | 1.8789 | 2.966 | 1.9184 | 5.572 | 4.4829 | 6.057 | 4.9607 | 3.881 | 2.8181 | 1.7743 | 0.74578 | 0
Generic consumables bundles | 0 | 1.0721 | 0.053097 | 5.0175 | 3.931 | 5.4068 | 4.3167 | 3.2459 | 2.1935 | 1.1587 | 0.14063 | 0 | we are still using the un quantified consumable bundles
DBS bundles | 8.6065 | 7.4684 | 6.3504 | >10 | >10 | >10 | >10 | >10 | 9.8954 | 8.7392 | 7.5999 | 6.4777
Reagent tips | 6.6667 | 5.6667 | 4.6667 | >10 | 9.6667 | 8.6667 | 7.6667 | 6.6667 | 5.6667 | 4.6667 | 3.6667 | 2.6667
Halogen lamps | 8 | 7 | 6 | >10 | >10 | >10 | >10 | 10 | 9 | 8 | 7 | 6
Seal tip gripper (O-rings) | 5.4 | 4.4 | 3.4 | 2.4 | 1.4 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0
K-carriers | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | 0 | 0 | 0 | 0
6. Result: Total to order for 6 months | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01
Reagent bundles | 1356.4 | 1378.3 | 1400.6 | 1423.3 | 1446.3 | 1469.7 | 1493.5 | 1254.5 | 1011.6 | 764.7 | 513.9 | 259
Generic consumables bundles | 68.1 | 69.2 | 70.3 | 71.4 | 72.6 | 73.8 | 75 | 63 | 50.8 | 38.4 | 25.8 | 13
DBS bundles | 1302.1 | 1323.2 | 1344.6 | 1366.4 | 1388.5 | 1411 | 1433.9 | 1204.4 | 971.2 | 734.2 | 493.4 | 248.7
Reagent tips | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 30 | 24 | 18 | 12 | 6
Halogen lamps | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 10 | 8 | 6 | 4 | 2
Seal tip gripper (O-rings) | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 6.25 | 5 | 3.75 | 2.5 | 1.25
K-carriers | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 2.5 | 2 | 1.5 | 1 | 0.5
AMC for March -August are sumed up in the total to order in March but these are being repeated in the proceeding months say April total to order!

## 3. AMC forecast
3. AMC FORECAST
Date |  | Date to model growth from
2015-02-01 |  | 2014-12-01 |  | * Choose the most recent month with normal consumption
Forecast
Growth forecast
1.619%
Historical AMCs
| 2014-03-01 | 2014-04-01 | 2014-05-01 | 2014-06-01 | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01
Reagent tests | 9338.3333 | 9423 | 9639.3333 | 9423 | 9829.3333 | 9925.6667 | 10422 | 10520 | 10652.3333 | 10262.3333 | 8891.3333 | 10251.6667
Reagent bundles | 194.6 | 196.4 | 200.9 | 196.4 | 204.8 | 206.8 | 217.2 | 219.2 | 222 | 213.8 | 185.3 | 213.6
Generic consumables bundles | 9.8 | 9.9 | 10.1 | 9.9 | 10.3 | 10.4 | 10.9 | 11 | 11.1 | 10.7 | 9.3 | 10.7
DBS bundles | 186.8 | 188.5 | 192.8 | 188.5 | 196.6 | 198.6 | 208.5 | 210.4 | 213.1 | 205.3 | 177.9 | 205.1
Percent change | 7.704% | 0.9067% | 2.296% | -2.244% | 4.312% | 0.9801% | 5.001% | 0.9403% | 1.258% | -3.661% | -13.36% | 15.3%
Forecasted AMCs
| 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01
Reagent tests | 10417.8515 | 10586.5547 | 10757.9898 | 10932.2011 | 11109.2335 | 11289.1327 | 11471.9452 | 11657.718 | 11846.4992 | 12038.3375 | 12233.2823 | 12431.384
Reagent bundles | 217.1 | 220.6 | 224.2 | 227.8 | 231.5 | 235.2 | 239 | 242.9 | 246.9 | 250.8 | 254.9 | 259
Generic consumables bundles | 10.9 | 11.1 | 11.3 | 11.4 | 11.6 | 11.8 | 12 | 12.2 | 12.4 | 12.6 | 12.8 | 13
DBS bundles | 208.4 | 211.8 | 215.2 | 218.7 | 222.2 | 225.8 | 229.5 | 233.2 | 237 | 240.8 | 244.7 | 248.7

## A. Input
A. INPUT
1. Date
Current date
2015-02-01
2. Stock & expiries
Product | Unit | Stock level | Expiry date | AMC for product | Estimated finish date | Risk of expiry?
Reagent Bundles - CAP/CTM HIV-1 Qualitative v2.0 | Bundle
Reagents - batch 1 | Bundle | 319 | 2016-02-01 | 213.6 | 2015-03-12 | No
Reagents - batch 2 | Bundle | 202 | 2016-02-01 | 213.6 | 2015-02-25 | No
Reagents - batch 3 | Bundle | 0 |  | 213.6 |  | No
Generic consumables bundles | Bundle | 10
DBS Bundles | Bundle | 702
Reagent tips | Unit | 12
Halogen lamps | Unit | 4
Seal tip gripper (O-rings) | Unit | 8
K-carriers | Unit | 4
3. Pipeline
Product | Step description | Quantity | Delivery date | Supplier | Pack size | Donor
Reagent bundles | NDA Approval Forwarded - Waiting for Shipping Documents | - | 2015-02-01 | Roche | 48 | UNITAID
Generic consumables bundles | NDA Approval Forwarded - Waiting for Shipping Documents | - | 2015-02-01 | Roche | 960 | UNITAID
DBS bundles | NDA Approval Forwarded - Waiting for Shipping Documents | - | 2015-02-01 | MiMEDA | 50 | UNITAID
Reagent tips | Order Dispatched - Waiting for Delivery Confirmation | 3 | 2015-02-01 | Roche | 1 | UNITAID | May be at NMS
Halogen lamps | Order Dispatched - Waiting for Delivery Confirmation | 2 | 2015-02-01 | Roche | 50 | UNITAID | May be at NMS
DBS bundles | Order Placed - Waiting for PFI | 448 | 2015-01-01 | <Please specify> | 50 | GF Round 7, Phase 2
Reagent bundles | Order Placed - Waiting for PFI | 625 | 2015-03-01 | Roche | 48 | UNITAID
DBS bundles | Order Placed - Waiting for PFI | 1300 | 2015-03-01 | Lasec | 50 | UNITAID
Reagent tips | Order Placed - Waiting for PFI | 34 | 2015-03-01 | Roche | 1 | UNITAID
Halogen lamps | Order Placed - Waiting for PFI | 14 | 2015-03-01 | Roche | 50 | UNITAID
Seal-tip gripper (O-rings) | Order Placed - Waiting for PFI | 4 | 2015-03-01 | Roche | 10 | UNITAID
Reagent bundles | Order Placed - Waiting for PFI | 467 | 2015-04-01 | Roche | 48 | GF Round 7, Phase 2
Generic consumables bundles | Order Placed - Waiting for PFI | 23 | 2015-04-01 | Roche | 960 | GF Round 7, Phase 2
Reagent bundles | Order Placed - Waiting for PFI | 600 | 2015-06-01 | Roche | 48 | UNITAID
Generic consumables bundles | Order Placed - Waiting for PFI | 45 | 2015-06-01 | Roche | 960 | UNITAID
DBS bundles | Order Placed - Waiting for PFI | 1300 | 2015-06-01 | Lasec | 50 | UNITAID
Reagent tips | Order Placed - Waiting for PFI | 42 | 2015-06-01 | Roche | 1 | UNITAID
Halogen lamps | Order Placed - Waiting for PFI | 18 | 2015-06-01 | Roche | 50 | UNITAID
Seal-tip gripper (O-rings) | Order Placed - Waiting for PFI | 10 | 2015-06-01 | Roche | 10 | UNITAID
Reagent bundles | Order Placed - Waiting for PFI | 467 | 2015-06-01 | Roche | 48 | GF Round 7, Phase 2
Generic consumables bundles | Order Placed - Waiting for PFI | 23 | 2015-06-01 | Roche | 960 | GF Round 7, Phase 2
DBS bundles | Order Placed - Waiting for PFI | 448 | 2015-06-01 | <Please specify> | 50 | GF Round 7, Phase 2
Reagent bundles | Special Circumstance | 622 | 2015-08-01 | Roche | 48 | GF Costed Extension
Generic consumables bundles | Special Circumstance | 30 | 2015-08-01 | Roche | 960 | GF Costed Extension
DBS bundles | Special Circumstance | 597 | 2015-08-01 | <Please specify> | 50 | GF Costed Extension
|  |  |  | #N/A | #N/A
|  |  |  | #N/A | #N/A
Formulas:
Estimated finish date = IF([Stock level]=0,"",WORKDAY(B7,(([Stock level]/[AMC for product])*20)))

## B. Consumption input
B. CONSUMPTION INPUT
MM/YY | Total tests (valid) | Total tests (invalid) | Total tests (control) | Total tests | Total reagent kit bundles | Test AMC | % change
2011-09-01 | 3175 | 92 | 312 | 3579 | 74.5625
2011-10-01 | 4520 | 36 | 414 | 4970 | 103.5417
2011-11-01 | 4813 | 284 | 470 | 5567 | 115.9792 | 4705.3333
2011-12-01 | 4945 | 128 | 467 | 5540 | 115.4167 | 5359 | 13.89%
2012-01-01 | 6107 | 536 | 602 | 7245 | 150.9375 | 6117.3333 | 14.15%
2012-02-01 | 7436 | 342 | 716 | 8494 | 176.9583 | 7093 | 15.95%
2012-03-01 | 7084 | 220 | 662 | 7966 | 165.9583 | 7901.6667 | 11.4%
2012-04-01 | 7067 | 129 | 646 | 7842 | 163.375 | 8100.6667 | 2.518%
2012-05-01 | 7750 | 153 | 710 | 8613 | 179.4375 | 8140.3333 | 0.4897%
2012-06-01 | 7279 | 211 | 670 | 8160 | 170 | 8205 | 0.7944%
2012-07-01 | 7972 | 111 | 726 | 8809 | 183.5208 | 8527.3333 | 3.928%
2012-08-01 | 7729 | 93 | 704 | 8526 | 177.625 | 8498.3333 | -0.3401%
2012-09-01 | 6631 | 92 | 606 | 7329 | 152.6875 | 8221.3333 | -3.259%
2012-10-01 | 7474 | 93 | 680 | 8247 | 171.8125 | 8034 | -2.279%
2012-11-01 | 7533 | 134 | 692 | 8359 | 174.1458 | 7978.3333 | -0.6929%
2012-12-01 | 5714 | 118 | 520 | 6352 | 132.3333 | 7652.6667 | -4.082%
2013-01-01 | 7269 | 190 | 678 | 8137 | 169.5208 | 7616 | -0.4791%
2013-02-01 | 7020 | 115 | 640 | 7775 | 161.9792 | 7421.3333 | -2.556%
2013-03-01 | 7920 | 104 | 722 | 8746 | 182.2083 | 8219.3333 | 10.75%
2013-04-01 | 8078 | 180 | 736 | 8994 | 187.375 | 8505 | 3.476%
2013-05-01 | 8730 | 81 | 796 | 9607 | 200.1458 | 9115.6667 | 7.18%
2013-06-01 | 7784 | 333 | 708 | 8825 | 183.8542 | 9142 | 0.2889%
2013-07-01 | 9261 | 176 | 846 | 10283 | 214.2292 | 9571.6667 | 4.7%
2013-08-01 | 8260 | 189 | 764 | 9213 | 191.9375 | 9440.3333 | -1.372%
2013-09-01 | 8053 | 57 | 734 | 8844 | 184.25 | 9446.6667 | 0.06709%
2013-10-01 | 8876 | 224 | 810 | 9910 | 206.4583 | 9322.3333 | -1.316%
2013-11-01 | 8740 | 199 | 798 | 9737 | 202.8542 | 9497 | 1.874%
2013-12-01 | 6923 | 198 | 632 | 7753 | 161.5208 | 9133.3333 | -3.829%
2014-01-01 | 8440 | 158 | 772 | 9370 | 195.2083 | 8953.3333 | -1.971%
2014-02-01 | 7941 | 221 | 726 | 8888 | 185.1667 | 8670.3333 | -3.161%
2014-03-01 | 8829 | 118 | 810 | 9757 | 203.2708 | 9338.3333 | 7.704%
2014-04-01 | 8518 | 292 | 814 | 9624 | 200.5 | 9423 | 0.9067%
2014-05-01 | 8646 | 103 | 788 | 9537 | 198.6875 | 9639.3333 | 2.296%
2014-06-01 | 8271 | 83 | 754 | 9108 | 189.75 | 9423 | -2.244%
2014-07-01 | 9683 | 298 | 862 | 10843 | 225.8958 | 9829.3333 | 4.312%
2014-08-01 | 8666 | 372 | 788 | 9826 | 204.7083 | 9925.6667 | 0.9801%
2014-09-01 | 9542 | 185 | 870 | 10597 | 220.7708 | 10422 | 5.001%
2014-10-01 | 10091 | 122 | 924 | 11137 | 232.0208 | 10520 | 0.9403%
2014-11-01 | 9037 | 262 | 924 | 10223 | 212.9792 | 10652.3333 | 1.258%
2014-12-01 | 8489 | 156 | 782 | 9427 | 196.3958 | 10262.3333 | -3.661%
2015-01-01 | 6365 | 73 | 586 | 7024 | 146.3333 | 8891.3333 | -13.36%
2015-02-01 | 12788 | 348 | 1168 | 14304 | 298 | 10251.6667 | 15.3%
2015-03-01 |  |  |  | 0 | 0 | 7109.3333 | 0%
2015-04-01 |  |  |  | 0 | 0 | 4768 | 0%
2015-05-01 |  |  |  | 0 | 0 | 0 | 0%
2015-06-01 |  |  |  | 0 | 0 | 0 | 0%
2015-07-01 |  |  |  | 0 | 0 | 0 | 0%
2015-08-01 |  |  |  | 0 | 0 | 0 | 0%
2015-09-01 |  |  |  | 0 | 0 | 0 | 0%
2015-10-01 |  |  |  | 0 | 0 | 0 | 0%
2015-11-01 |  |  |  | 0 | 0 | 0 | 0%
2015-12-01 |  |  |  | 0 | 0 | 0 | 0%
584 | 12788 | 348 | 1168 | 14304 | 290.75 | 7.25 | 298

## C. Specifications
C. SPECIFICATIONS
Last updated on 18 August 2014
Name | Manufacturer | Pack Size | Unit | Tentative cost estimate
Reagent bundles | Roche | 48 | Bundle | 528
Generic consumables bundles | Roche | 960 | Bundle | 315
DBS bundles | <Please specify> | 50 | Bundle | 84.65
DBS bundles - Lasec | Lasec | 50 | Bundle | 73.38 | *
DBS bundles - MiMEDA | MiMEDA | 50 | Bundle | 95.92
Reagent tips | Roche | 1 | Unit | 182.17
Halogen lamps | Roche | 50 | Unit | 63.84
Seal-tip gripper (O-rings) | Roche | 10 | Unit | 6.41
K-Carriers | Roche | 1 | Unit | 48.47
*71.72 euros, converted to USD using exchange rate on 6 December 2013
Pipeline description
Order Placed - Waiting for PFI
PFI Received
PFI Forwarded, Waiting for NDA Approval
Waiting for Invoice for Storage and Distribution
NDA Approval Received
NDA Approval Forwarded - Waiting for Shipping Documents
Shipping Documents Received
Order Dispatched - Waiting for Delivery Confirmation
Delivered
Special Circumstance
Cancelled
Incomplete Shipment
Item | Catalogue Number | Units per box | Current stock | Pipeline | Number of times per year part is replaced | Quantity per machine per replacement | Total number of machines at CPHL | Estimated consumption/ quarter | Buffer | Total annual consumption | Annual consumption in boxes
Reagent tip | 28173362001 | 1 | 12 | 0 | 6 | 2 | 4 | 12 | 24 | 72 | 72
Halogen lamps | 5070856001 | 1 | 4 | 0 | 4 | 1 | 4 | 4 | 8 | 24 | 24
Seal-tip gripper (O-rings) | 28154104001 | 10 | 8 | 0 | 12 | 2 | 4 | 24 | 48 | 144 | 15
K-Carriers | 28150397001 | 1 | 4 | 0 | 1 | 1 | 4 | 1 | 2 | 6 | 6

## Logistics breakdown
REAGENTS KITS - EID
HIV-1 Qual Test Kit(reagent kit) | 48tests | 4 CTRLS
SPEX Reagent | 350tests
REAGENT KITS- VIRAL LOAD(ABBOTT)
Amplification Kit | 96 tests | 3 CTRLS
Controls | 768 tests
Bulk mLysis DNA Buffer (for DBS processing only) | 96tests
Abbott mSample Preparation System DNA | 96tests
REAGENT KITS- VIRAL LOAD(ROCHE)
HIV-1 VL Test Kit V2 (reagent kit) | 48 | 6 CTRLS
TEST SPECIFIC CONSUMABLES - EID
SPU | 12racks*24tests
K-Tips | 12racks*36tests
K-Tubes | 12acks*96tests
S-Tube | 12packs*12tests
wash buffer | 1pack*96tests
consumable bundle | 960tests
TEST SPECIFIC CONSUMABLES - VL(Abbott)
1000 µL Tecan Disposable Tips | 96*96*24/841=263tests
200 µL Tecan Disposable Tips | 96*96*24/96=2304tests
Abbott 96-Well Optical Reaction Plate | 20*96=1920tests
Abbott 96-Deep-Well Plate | 32/3*96=960tests
Saarstedt 5 mL Reaction Vessels | 2000/192*96=1000tests
200 mL Reagent Vessels | 96*90/6=1440tests
Saarstedt Master Mix Tube | 96*32/3=960tests
Falcon Tubes | 20*1=20tests
Abbott Optical Adhesive Covers | 100*96=9600tests
Biohazard bags | 960tests
consumable bundle
TEST SPECIFIC CONSUMABLES - VL(Roche)
SPU | 12racks*24tests
K-Tips | 12racks*36tests
K-Tubes | 12acks*96tests
S-Tube | 12packs*12tests
wash buffer | 1pack*96tests
LAB MAINTENANCE CONSUMABLES
Ethanol
JIK
Cotton Gauze
SAMPLE COLLECTION KITS - EID & VL
DBS Collectio kit -EID
DBS Collectio kit -VL
CPHL STORAGE CONSUMABLES
Freezer Racks
Cryo-preservation Boxes
MACHINE CONSUMABLES
Reagent tip
Halogen lamps
Seal-tip gripper (O-rings)
STATIONERY
EID Dispatch Form
Infant Referral Forms
Infant Register Books
VL Dispatch Forms
Envelopes A4, A3 A5 pre-printed or plain
catridge withToner; 5A, 80A, 5501i,4500i
photocopying paper

## Abbott m2000 Automated Testing
Abbott m2000
Reagents and Proprietary Laboratory Consumables
Item No. | Item Name/ Description | Procurement Catalogue Number | Unit | # Units Required/ Run of 96 Samples | # of Tests Covered/ Unit
1 | Abbott RealTime HIV-1 Amplification Reagent Kit | 2G31-90 | 1 box of 4 packs of 24 tests each | 1 | 96
2 | Abbott RealTime HIV-1 Control Kit | 2G31-80 | 1 box of 8 negative & 8 low-positive & 8 high-positive controls | 1 negative, 1 low-positive, & 1 high-positive control per run | 768
3 | Abbott RealTime HIV-1 Calibrator Kit | 2G31-70 | Kit | N/A | Every six months
4 | Abbott mSample Preparation System DNA | 4J70-24 | 1 Box of 4x24 Preps | 1 | 96
5 | Bulk mLysis DNA Buffer (for DBS processing only) | 2N77-01 | 210 mL Bottle | 144 mL | 96
6 | 200 mL Reagent Vessels | 4J71-60 | 90 | 6 | 1440
7 | Abbott Optical Adhesive Covers | 4J71-75 | 100 | 1 | 9600
8 | Abbott 96-Deep-Well Plate | 4J71-30 | 32 | 3 | 960
9 | Abbott 96-Well Optical Reaction Plate | 4J71-70 | 20 | 1 | 1920
10 | Saarstedt Master Mix Tube | 4J71-80 | 150 | 1 | 14400
11 | Saarstedt 5 mL Reaction Vessels | 4J71-20 | 2000 | 192 | 1000
12 | 1000 µL Tecan Disposable Tips | 4J71-10 | Case (96 tips/ box, 24 boxes/ case) | 841 | 263
13 | 200 µL Tecan Disposable Tips | 4J71-17 | Case (96 tips/ box, 24 boxes/ case) | 96 | 2304
14 | Biohazard bags | 4J71-45 | 50 | 1 | 4800
Non-Proprietary Laboratory Consumables Bundle for Automated Testing
Item No. | Item Name/ Description | Procurement Catalogue Number | Unit | # Units Required/ Run of 96 Samples | # of Tests Covered | Specifications
Bundle | Aerosol Resistant Pipette Tips (200-1000ul) | Abbott: KKIT-ABBUNDLE AUTO LASEC: KKIT-ABBUNDLE AUTO A | N/A | N/A | 960 | Sterile pre-packed aerosol resistant (plugged) pipette tips - 200 to 1000ul volumes
| Aerosol Resistant Pipette Tips (50-200ul) |  | N/A | N/A |  | Sterile pre-packed aerosol resistant (plugged) pipette tips - 50 to 200ul volumes
| Powderless Latex Gloves |  | N/A | N/A |  | Single use disposable powder-free latex examination gloves. Medium 400; Large 400
| Disposable Ziploc bags |  | N/A | N/A |  | Re-sealable Ziploc bag to accommodate 96-well PCR plate during transport in lab; Ziploc bag must opaque, 150 x 180mm
| Biohazard Bags (Small) |  | N/A | N/A |  | Heavy duty autoclavable small plastic biohazard disposal bag, size to fit 2 liter beaker, minimum size 415 x 600mm
| Biohazard Bags (Large) |  | N/A | N/A |  | Heavy duty autoclavable large plastic biohazard disposal bag, minimum size 900 x 1000mm
| Disposable lab coats |  | N/A | N/A |  | Disposable long-sleeve laboratory coats, elasticated wrists, tie-backs at rear
| Fine Tipped Waterproof Permanent Lab Marking Pens, Black |  | N/A | N/A |  | Special Marker Pens, Water resistant, quick-drying, super fine black (841077)
| Tecan 10ml repeat pipet tip |  | N/A | N/A |  | Tecan or equivalent 10ml repeat pipet tips with graduations, suitable for the Gilson Repetman.
| 50ml centrifuge tubes |  | N/A | N/A |  | 50ml sterile polypropylene screw cap tubes with conical bottom
Absolute Ethanol
Item No. | Item Name/ Description | Procurement Catalogue Number | Unit | # Units Required/ Run of 96 Samples | # of Tests Covered/ Unit | Specifications
| Absolute Ethanol | Generic | 2 Litre Bottle | 1 | 500 | 2 liter bottle molecular grade 99.9% ethanol, Merck OR EQUIVALENT

## Roche CAPCTM Automated Testing
Roche CAP/CTM 48 or 96
Reagents and Proprietary Consumables for Automated Testing
Item No. | Item Name/ Description | Procurement Catalogue Number | Unit | # of Tests Covered/ Unit
1 | CAP/CTM HIV-1 V2.0 EXPT-IVD | 05212294190 | 48 tests | 48
2 | Cobas TaqMan K Tubes (Rack, 12 x 96) | 03137082001 | 12x96 | 1152
3 | CAP-G/CTM Wash Reagent 5.1L IVD | 03587797190 | 4 Litre Bottle | 100
4 | Cobas Ampliprep SPU Flapless (Box - 12 x24) | 03755525001 | 12 racks x 24 | 288
5 | S-tubes input Box 12x24 | 03137040001 | 12 racks x 24 | 288
6 | K-tip 1.2mm Box 12x36 | 03287343001 | 12 racks x 36 | 432
Non-Proprietary Laboratory Consumables Bundle for Automated Testing
Item No. | Item Name/ Description | Procurement Catalogue Number | Unit | # of Tests Covered/ Unit
Bundle | Aerosol Resistant Pipette Tips (200-1000ul) | 05641349001 | N/A | 960
| Powderless Latex Gloves |  | N/A
| Biohazard Bags (Small) |  | N/A
| Biohazard Bags (Large) |  | N/A
| Disposable lab coats |  | N/A
| Fine Tipped Waterproof Permanent Lab Marking Pens, Black |  | N/A